ABSTRACT OF BIDS AS CALCULATED                                                                                                                                                              
                                                                                                                                                              
Date of Bid Opening:         January 22, 2013                                                                                                                                                     
Bid/Canvass Number:         13CB-GSC-003                                                                                                                                                     
                                                                                                                                                              
Item #   Qty.   Unit   Description of Item    Approved Budget for the Contract (ABC)     TNC Everlight  Philippines Inc        REMARKS                                                                                                                                          
                                                                                                                                                              
1.   1   unit   COMPACT FULLY AUTOMATED MICROBIOLOGY    4,500,000.00     4,500,000.00                                                                                                                                                
          (BACTERIAL IDENTIFICATION AND SENSITIVITY)       France                                                                                                                                                
         Specifications:                                                                                                                                                     
         \*Module is designed for 30 or 60 cards                                                                                                                                                     
         \*system is comprised of PC, Reader & Incubator                                                                                                                                                     
         \*Capable of Performing GRAM-NEGATIVE, GRAM-POSITIVE &                                                                                                                                                     
          YEAST Identification & SUSCEPTIBILITY TESTS                                                                                                                                                     
         \*Colored system indicator for recognition of bacterial                                                                                                                                                       
         resistance mechanisms                                                                                                                                                     
         \*Highly automated which provides 5 to 8 hours identifications &                                                                                                                                                      
         antibiotic susceptibility test results (ID/AST)                                                                                                                                                     
         \*Optimized user safety during primary inoculation                                                                                                                                                     
         \*Maximum traceability provided by pre-applied bar codes                                                                                                                                                     
         \*Easy to use, all subsequent steps are handled by the machine                                                                                                                                                      
         \*Rapid results searches by patient, date tested, organism,                                                                                                                                                     
          accession number & name of technologist who processed                                                                                                                                                     
         \*automatic validation & transfer of preliminary results                                                                                                                                                     
         \*Inclusive of UNINTERRUPTED POWER SUPPLY (UPS) &                                                                                                                                                      
         AUTOMATED VOLTAGE REGULATOR (AVR)                                                                                                                                                     
         \* 2 Years warranty on parts and service, 5 years for services                                                                                                                                                     
         \*Free training for Biomedical Engineering for services &                                                                                                                                                     
          preventive maintenance                                                                                                                                                     
         \*Validation & quality control included                                                                                                                                                     
         \*Free training for Medical Technologists                                                                                                                                                     
         \*Delivery  30 days from date of receipt of purchase order