ABSTRACT OF BIDS AS READ                          
                          
Date of Bid Opening:         January 22, 2013                 
Bid/Canvass Number:         13CB-GSC-004                 
                          
Item #   Qty.   Unit   Description of Item    Approved Budget for the Contract (ABC)     Allied Hospital Supply International Corp.    Kryton Industrial Resources Co.    Medical Center Trading Corp.     REMARKS   
                          
1   1   unit   BLOOD BANK REFRIGERATOR    400,000.00     365,000.00    222,000.00    280,000.00      
                Made in Germany     Made in China     Made in China      
         Specifications:       brand: Haier    brand; Biobase    Brand: Labfreez      
         \*Micro computer control, temperature precision within 0.1°C.          model: BXC-BILBAO        
         \*LED display more precisely.                 
         \*Equipped with audio and visual alarm                 
         \*World famous compressor, motor, high efficiency condenser evaporator,                  
         with long working life.                 
         \*Strong c ooling system, temperature can recover promptly after the                  
         door open/ close.                 
         \*Special lock, ensure the storage security.                 
         \*Made of high quality steel or ABS, erod-proof coating,                 
         \*Internal material: Stainless steel, easy for cleaning.                 
         \*prolonged Power cable (3m),convenient to use.                 
         \*Temperature recorder.                 
         \*Automatic Voltage Regulator (AVR)                 
         Optional Accessories: Chart recorder, Printer, UPS                 
         CERTIFICATE: ISO 9001, ISO-13485, ISO-14000, CE.                 
         Warranty: 1 year warranty on parts & Services aftersales                 
         \* 2 Years warranty on parts and service, 5 years for services                 
         \*\*\*nothing follows\*\*\*